Doney Park Water

“A Member-Owned Cooperative”

PWS ID # AZ04-03005

2014 Annual Drinking Water Quality Report

Providing Water to Our Members Since 1936 ( Consumer Confidence Report, April 2015

___________________________________________________________________________________________

Introduction

The United States Environmental Protection Agency (USEPA), as part of the Safe Drinking Water Act, requires purveyors of drinking water to annually produce a report that addresses the quality of the water they deliver to their customers.  This Consumer Confidence Report provides information on the domestic drinking water delivered to you by Doney Park Water.

Doney Park Water is pleased to present to you this year's Annual Water Quality Report. This report is designed to inform you about the quality of the water and services we deliver to you every day. Our constant goal is to provide you with a safe and dependable supply of drinking water and we want you to understand the efforts we make to continually improve and protect our water resources. We are committed to ensuring the quality of your water.

Where does our water come from?

Our water source is deep groundwater drawn from within the Coconino Aquifer.  The water is supplied by seven production wells that range in depth from 1581 feet to 1910 feet deep.  The static water level in the various wells ranges from 1261 feet to 1504 feet.  This deep groundwater provides a clean, safe water supply for all our members/customers.  All of the wells are tied together and the water is distributed to our members/customers by means of a network of pipes and 19 booster stations.

This report contains important information about your water system.  Please read it and call us with any questions you may have.

Este informe contiene informacion muy importante sobre su agua beber.  Traduzcalo a hable con alquien que lo entienda bien.

If you have questions about this report or concerning your water utility, please contact:

A Customer Service Representative, (928) 526-1080	www.doneyparkwater.com

Bill Linville, General Manager, (928) 526-1080

One of your elected board members:

Larry Davis	Richard Downey

Jim Timney	Selden Wasson

We want our valued members/customers to be informed about their water utility. If you want to learn more, please attend any of our regularly scheduled meetings. They are held on the next to the last Wednesday of every month except when those weeks contain holidays which conflict with meeting dates.  Please call the office to confirm meeting dates.  The Board Meetings are currently held at Doney Park Water Office, 5290 Northgate Loop, Flagstaff, Arizona, 86004, beginning at 11:00am.

Doney Park Water meets all Federal and State water quality standards

We are pleased to report that our drinking water is safe and meets all Federal and State water quality standards.  Doney Park Water routinely monitors for contaminants in your drinking water according to Federal and State laws.  All drinking water, including bottled drinking water, may be reasonably expected to contain at least small amounts of some contaminants.  The presence of contaminants does not necessarily pose a health risk.  The following table shows the results of our monitoring, for which contaminants were detected.  The Microbiological Contaminants section is based on our regular monthly samples taken January 1st to December 31st, 2014.

We have learned through our monitoring and testing that some contaminants have been detected.  These detected contaminants are below the regulatory limits for those contaminants.  The EPA has determined that your water is safe at these levels.

The sources of drinking water (both tap water and bottled water) include rivers, lakes, streams, ponds, reservoirs, springs, and wells. As water travels over the surface of the land, or through the ground, it dissolves naturally occurring minerals and in some cases, radioactive material, and can pick up substances resulting from the presence of animals or from human activity.

Contaminants that may be present in source water include:

- Microbial contaminants, such as viruses and bacteria, which may come from sewage treatment plants, septic systems, agricultural livestock operations, and wildlife.

- Inorganic contaminants, such as salts and metals, which can be naturally-occurring or result from urban storm water runoff, industrial or domestic wastewater discharges, oil and gas production, mining, or farming.

- Pesticides and herbicides, which may come from a variety of sources, such as agriculture, urban storm water runoff, and residential uses.

- Organic chemical contaminants, including synthetic and volatile organic chemicals, which are byproducts of industrial processes and petroleum production, and may come from gas stations, urban storm water runoff, and septic systems.

- Radioactive contaminants, which can be naturally occurring or be the result of oil and gas production, and mining activities.

In order to ensure that tap water is safe to drink, the EPA prescribes regulations that limit the amount of certain contaminants in water provided by public water systems.

Definitions

In this table you will find many terms and abbreviations you might not be familiar with. To help you better understand these terms, we've provided the following definitions:

AL = Action Level - The concentration of a contaminant which, if exceeded, triggers treatment or other requirements.

MCL = Maximum Contaminant Level - The “Maximum Allowed” is the highest level of a contaminant that is allowed in drinking water.

MCLG = Maximum Contaminant Level Goal - The “Goal” is the level of a contaminant in drinking water below which there is no known or expected risk to health.

MFL = Million Fibers per Liter

MRDL = Maximum Residual Disinfectant Level

MRDLG = Maximum Residual Level Goal

MREM = Millirems per year – a measure of radiation absorbed by the body.

NA = Not Applicable, sampling was not completed by regulation or was not required.

NTU = Nephelometric Turbidity Units, a measure of water clarity.

PCi/L = Picocuries per liter is a measure of the radioactivity of water.

PPM = Parts per million or Milligrams per liter (mg/L).	note  ppm x 1000 = ppb

PPB = Parts per billion or Micrograms per liter (ug/L)	note  ppb x 1000 = ppt

PPT = Parts per trillion or Nanograms per liter		note  ppt x 1000 = ppq

PPQ = Parts per quadrillion or Picograms per liter.

SMCL = Secondary Maximum Contaminant Level- Not Federally enforced but provided as a guideline for States and public water systems.

TT = Treatment Technique – A treatment technique is a required process intended to reduce the level of a contaminant in drinking water.

| Microbiological | Y/N Violation | Number of Samples Present | Absent (A) or Present (P) OR Range of All Samples (L-H) | MCL | MCLG | Sample Month & Year | Likely Source of Contamination |
| --- | --- | --- | --- | --- | --- | --- | --- |
| Total Coliform Bacteria. Our system is allowed only one positive coliform sample per month | Y | 2 | P | One positive coliform sample per month | 0 | June 2014 | Naturally present in the environment |
| Fecal coliform and E.coli (TCRule) | N | 0 | A | A routine and repeat sample are total coliform positive, and one is also fecal coliform or E. coli positive | 0 | NA | Human and animal fecal waste |
| Radionuclides | Violation Y/N | Highest Level Detected | Range of All Samples (L-H) | MCL | MCLG | Sample Month & Year | Likely Source of Contamination |
| Alpha emitters (pCi/L) | N | 6.0 +/- 1.2 | 3.8 to 6.0+/-1.2 | 15 | 0 | December 2014 and June 2012 | Erosion of natural deposits |
| Combined Radium 226 & 228 (pCi/L) | N | 0.5 +/- 0.1 | <0.3 to 0.5+/-0.1 | 5 | 0 | December 2014 and June 2012 | Erosion of natural deposits |
| Lead /Copper | Violation Y/N | 90th Percentile AND Number of Samples Over the AL | Range of All Samples (L-H) | AL | ALG | Sample Month & Year | Likely Source of Contamination |
| Copper (ppm) | N | 0.15 & 0 | 0.01 to 0.19 | 1.3 | 1.3 | August 2012 | Corrosion of household plumbing systems; erosion of natural deposits |
| Lead (ppb) | N | 3 & 0 | <1 to 8 | 15 | 0 | August 2012 | Corrosion of household plumbing systems; erosion of natural deposits |
| Inorganic Chemicals (VOCs) | Violation Y/N | Highest Level Detected | Range of All Samples (L-H) | MCL | MCLG | Sample Month & Year | Likely Source of Contamination |
| Arsenic (ppb) | N | 0.0019 | <1.0 To 0.0019 | 10 | 0 | January 2012 and June 2010 | Erosion of natural deposits; Runoff from orchards; Runoff from glass and electronics production wastes. |
| Barium (ppm) | N | 1.4 | 0.23 To 1.4 | 2 | 2 | July 2012 | Discharge of drilling wastes; discharge from metal refineries; erosion of natural deposits |
| Chromium (ppb) | N | 0.0026 | <5.0 to 0.0026 | 100 | 100 | July 2012 | Discharge from steel and pulp mills; Erosion of natural deposits |
| Fluoride (ppm) | N | 0.15 | <0.10 To 0.15 | 4 | 4 | July 2012 | Erosion of natural deposits; water additive which promotes strong teeth; discharge from fertilizer and aluminum factories |
| Nitrate (ppm) | N | 2.8 | 0.46 To 2.8 | 10 | 10 | July 2012 | Runoff from fertilizer use; leaching from septic tanks, sewage; erosion of natural deposits |
| Selenium (ppb) | N | 0.004 | <0.005 To 0.004 | 50 | 50 | January 2012 and June 2010 | Discharge from petroleum and metal refineries; erosion of natural deposits; discharge from mines |
| Nickel (ppm) | N | 0.041 | <0.005 To 0.041 | NO MCL | NO MCL | January 2012 | Erosion of natural deposits |
| Sodium (ppm) | N | 10.0 | 5.6 to 10 | NO MCL | NO MCL | January 2012 | Erosion of natural deposits |
| Sulfate (ppm) | N | <5.0 | <5.0 | SMCL 250 | SMCL 250 | June 2010 | Erosion of natural deposits |

Microbiological Contaminants:

Total Coliform: Bacteria that are naturally present in the environment and are used as an indicator that other, potentially harmful, bacteria may be present.

Fecal Coliform/E.Coli:  Bacteria whose presence indicates that the water may be contaminated with human or animal wastes. Microbes in these wastes can cause short-term effects, such as diarrhea, cramps, nausea, headaches, or other symptoms. They may pose a special health risk for infants, young children, and people with severely compromised immune systems.

Radioactive Contaminants:

Alpha emitters: Certain minerals are radioactive and may emit a form of radiation known as alpha radiation. Some people who drink water containing alpha emitters in excess of the MCL over many years may have an increased risk of getting cancer.

Inorganic Contaminants:

Arsenic: Some people who drink water containing arsenic in excess of the MCL over many years could experience skin damage or problems with their circulatory system, and may have an increased risk of getting cancer.

Barium: Some people who drink water containing barium in excess of the MCL over many years could experience an increase in their blood pressure.

Chromium: Some people who use water containing chromium well in excess of the MCL over many years could experience allergic dermatitis.

Copper: Copper is an essential nutrient, but some people who drink water containing copper in excess of the action level over a relatively short amount of time could experience gastrointestinal distress. Some people who drink water containing copper in excess of the action level over many years could suffer liver or kidney damage. People with Wilson's Disease should consult their personal doctor.

Fluoride: Some people who drink water containing fluoride in excess of the MCL over many years could get bone disease, including pain and tenderness of the bones. Children may get mottled teeth.

Lead: Infants and children who drink water containing lead in excess of the action level could experience delays in their physical or mental development. Children could show slight deficits in attention span and learning abilities. Adults who drink this water over many years could develop kidney problems or high blood pressure.

Nitrate: Infants below the age of six months who drink water containing nitrate in excess of the MCL could become seriously ill and, if untreated, may die. Symptoms include shortness of breath and blue-baby syndrome.

Nickel: Nickel MCL remanded in 1995. Not found to potentially cause health effects from long term exposure at levels above the original MCL of 0.1 mg/l.

Selenium: Selenium is an essential nutrient. However, some people who drink water containing selenium in excess of the MCL over many years could experience hair or fingernail losses, numbness in fingers or toes, or problems with their circulation.

Sodium: Sodium is not subject to any national primary drinking water regulation. High levels of sodium may be associated with hypertension in some individuals.

Sulfate: Sulfate is listed as a secondary standard (SMCL) and is not enforced. It can cause a salty taste and may cause laxative effects with abrupt changes in drinking low then high concentrations.

What does this mean?

The table shows that we had two detects for coliform bacteria in July of 2014. We responded by flushing the affected area and the next set of samples were negative for any contamination. Coliforms are bacteria that are naturally present in the environment and are used as an indicator that other potentially harmful bacteria may be present. Coliform bacteria are usually harmless, but their existence in water can be an indication of other disease-causing bacteria.  When coliform bacteria are found, special follow-up tests are done to determine if harmful bacteria (E. coli) are present in the water supply.  If this limit is exceeded, the water supplier must notify the public by newspaper, television or radio. If a sample is positive for bacteria, another sample is taken at the initial sample point as well as upstream and downstream sample points to determine if the first sample was a true detect. Negative follow-up samples may indicate that the first sample was a false positive.

Important Health Information

Drinking water, including bottled water, may reasonably be expected to contain at least small amounts of some contaminants. Some people may be more vulnerable to contaminants in drinking water than the general population. Immuno-compromised persons such as persons with cancer undergoing chemotherapy, persons who have undergone organ transplants, people with HIV/AIDS or other immune system disorders, some elderly, and infants can be particularly at risk from infections.

These people should seek advice about drinking water from their health care providers. For more information about contaminants and potential health effects, or to receive a copy of the U. S. Environmental Protection Agency (EPA) and the U. S. Centers for Disease Control (CDC) guidelines on appropriate means to lessen the risk of infection by Cryptosporidium and other microbiological contaminants call the EPA Safe Drinking Water Hotline at (800-426-4791).

Hardness

We get more questions concerning hardness than any other water issue.  Our source is groundwater, and like most groundwater supplies, is fairly hard.  The hardness of the water is not a health issue and may even be beneficial for its calcium content.  It will cause scaling buildup on fixtures and in water heaters.

( Water is considered soft if it falls within the range of 0 –75 mg/L of hardness (0 - 4.38 gr).

( Water is considered medium hard if it falls within the range of 75 – 150 mg/L (4.38 - 8.76 gr).

( Water is considered hard if it falls within the range of 150 – 300 mg/l (8.76 – 17.52 gr).

( Water is considered very hard if it is over 300 mg/L (17.52 gr).

The hardness of our water ranges from 190 mg/L to 266 mg/L (11.10 to 15.54 gr).

VIOLATIONS

| Type / Description | Compliance Period | Corrective Actions taken by PWS |
| --- | --- | --- |
| Total Coliform | June 2014 | Flushed affected area |
| Total Coliform | July 2013 | Flushed/Chlorinated affected area plus tank |
| Total Coliform | September 2012 | Flushed/Chlorinated affected area |
| Total Coliform | June 2012 | Flushed/Chlorinated affected area |
| Total Coliform | August 2011 | Flushed/Chlorinated affected area |
| Total Coliform | November 2010 | Flushed/Chlorinated affected area |
| Total Coliform | October 2010 | Flushed/Chlorinated affected area |

Additional Water Quality Testing

Additional water quality testing was conducted for the contaminants listed below and no detects were discovered.

| Inorganic Contaminants Antimony Asbestos Beryllium Cadmium Cyanide Mercury Nitrite Thallium Synthetic Organic Contaminants including Pesticides and Herbicides 1,2-Dibromo-3-Chloropropane (DBCP) 2,3,7,8-TCDD (Dioxin) 2,4-D 2,4,5-TP (Silvex) Alachlor (Lasso) Atrazine Benzo(a)pyrene (PAH) Carbofuran Chlordane Dalapon | (SOC Cont.) Di(2-ethylhexyl)adipate Di(2-ethylhexyl)phthalate Dinoseb Diquat Endothall Endrin Ethylene Dibromide (EDB) Glyphosate Heptachlor Heptachlor epoxide Hexachlorobenzene Hexachlorocyclo-pentadiene Lindane (BHC GAMMA) Methoxychlor Oxamyl [Vydate] PCBs [Polychlorinated biphenyls] Pentachlorophenol Picloram Simazine Toxaphene Volatile Organic Contaminants Benzene Carbon tetrachloride | (VOC Cont.) Chloroform (mono) Chlorobenzene o-Dichlorobenzene p-Dichlorobenzene Dibromochloromethane cis-1,2-Dichloroethylene trans-1,2- Dichloroethane 1,2-Dichloroethane 1,1 – Dichloroethylene trans-1,2-Dichloroethylene Dichloromethane 1,2-Dichloropropane Ethylbenzene Styrene Tetrachloroethylene 1,2,4 –Trichlorobenzene 1,1,1 – Trichloroethane 1,1,2 –Trichloroethane Trichloroethylene TTHM (Total trihalomethanes) Toluene Vinyl Chloride Xylenes total |
| --- | --- | --- |